## Slide 1
Environmental Life Cycle Assessment of Electricity from PV systems, 2021 data update
R. Frischknecht, (Ed.)
November 2022

## Slide 2
Environmental Life Cycle Assessment
Life Cycle Assessment (LCA) is a structured, comprehensive method of quantifying material and energy flows, including the associated emissions caused in the life cycle of goods and services.
The life cycle of goods and services covers raw material and primary energy extraction, material and energy supply, manufacture, use and end of life, including transport and waste management services where needed.
www.lifecycleinitiative.org

## Slide 3
Product System and System Boundary PV Electricity Generation
IEA PVPS Report T12-19:2020
Company specific data: Data from PV panel manufacturer and companies operating supply chain activities such as cell manufacturing
Secondary data:
Data derived from scientific publications, reports and statistics or industry average data

## Slide 4
Environmental Footprint PV: Scope
Reference flow: 1 kWh AC electricity (at connection point with the network), produced with a 3 kWp PV system, rooftop mounted
Annual production (Europe): 975 kWh/kWp, including degradation (linear, 0.7 %/year*)
Service life: 30 years (Panel), 15 years (inverter)
PV technologies and efficiencies
  Cadmium-Tellurid (CdTe), 18.2 %
  Copper-Indium-Gallium-Selenid (CIS/CIGS), 17.0 %
  Multicrystalline Silicon (multi-Si, BSF), 18.0 %
  Monocrystalline Silicon (mono-Si, BSF), 20.0 %
* As per current Task 12 LCA methodology (IEA-PVPS T12-18:2020), though research on recent systems suggests degradation rates in the order of 0.5-0.6 %/year (Jordan et al. 2016). Results presented here can be adjusted by assuming a linear relationship with the degradation rate dependent yield. For a degradation rate of 0.5 %/year simply multiply results by a factor of 0.968; while for a degradation rate of 0.9 %/year multiply results by a factor of 1.053.

## Slide 5
Main updates
crystalline silicon PV modules
  module efficiency (Fraunhofer ISE 2021)
  market shares polysilicon, ingot, wafer, cell and panel manufacturing (IHS Markit 2020)
  electricity and thermal energy consumption in polysilicon, ingot, wafer, cell and panel manufacturing (IEA PVPS 2019&2021, ITRPV 2020, Smith et al. 2021, Woodhouse et al. 2019)
  wafer thickness (ITRPV 2021)
  silicon losses in wafer production (ITRPV 2021)
CIS PV modules
  module efficiency (Fraunhofer ISE 2021)
CdTe
  module type and module efficiency (Sinha 2021)
  update of inventory data of all production sites in Malaysia, Vietnam and USA (Sinha 2021)

## Slide 6
Key Parameters and Key Data
Update 2021 | Unit | mono-Si (1) | multi-si (1) | CIS | CdTe
Module efficiency | % | 20.0 | 18.0 | 17.0 | 18.2
Wafer thickness | mm | 170 | 172.5 | n.a. | n.a.
Kerf loss | mm | 65 | 65 | n.a. | n.a.
Further losses | mm | 10.2 | 21.4 | n.a. | n.a.
Glass thickness | mm | 3.2 | 3.2 | 3.2 | 2.1 (front) 2.8 (back)
Electricity consumption |  |  |  |  | 
- MG silicon | kWh/kg | 11 |  |  | 
- polysilicon production | kWh/kg | 49 (electricity) +17.5 (thermal) |  | n.a. | n.a.
- CZ monocrystal / casting | kWh/kg | 30 | 7.0 | n.a. | n.a.
- wafer manufacture | kWh/m2 | 4.8 | 5.6 | n.a. | n.a.
- cell manufacture | kWh/m2 | 17.7 |  | n.a. | n.a.
- Panel manufacture | kWh/m2 | 12.2 |  | 45 | 19-23
Year of key production and market data |  | 2019-2021 |  | 2010/2020 (2) | 2020-2021
(1) Standard technology Back Surface Field, BSF
(2) 2010: production data; 2020: module efficiency

## Slide 7
Environmental Impacts of 1 kWh AC Electricity (2021 update)
 | unit | Mono-Si | Multi-Si | CIS | CdTe
Greenhouse gas emissions | g CO2 eq | 42.9 | 44.0 | 35.4 | 25.5
Resource use, fossil fuels | MJ | 0.51 | 0.52 | 0.51 | 0.35
resource use, minerals and metals | mg Sb eq | 5.21 | 5.30 | 4.64 | 5.23
particulate matter | 10-9 disease incidences | 3.85 | 3.88 | 1.19 | 0.94
acidification | mmol H+ eq | 0.36 | 0.37 | 0.21 | 0.18
water scarcity | l water eq | 4.49 | 3.90 | 3.13 | 2.09
module efficiency | % | 20.0 | 18.0 | 17.0 | 18.2
Data |  | 2019-2021 |  | 2010/2020 | 2019-2020
1 kWh AC electricity. Annual irradiation: 1’331 kWh/m2. Annual yield (Europe): 975 kWh/kWp, including degradation (linear, 0.7%/a). To adjust results for a degradation rate of 0.5 %/year multiply results by 0.968; while for a degradation rate of 0.9 %/year, multiply results by a factor of 1.053. Service life: 30 years (Panel), 15 years (inverter)

## Slide 8
Environmental Impacts of 2021 Systems Relative to 2018 Systems
 | Mono-Si | Multi-Si | CIS | CdTe
Greenhouse gas emissions | 101% | 104% | 97% | 96%
Resource use, fossil fuels | 95% | 97% | 94% | 92%
resource use, minerals and metals | 99% | 99% | 100% | 99%
particulate matter | 106% | 110% | 86% | 87%
acidification | 101% | 103% | 93% | 93%
water scarcity | 100% | 103% | 97% | 95%
module efficiency | 20.0% (19.5%) | 18.0% (18.0%) | 17.0% (16.0%) | 18.2% (18.0%)
1 kWh AC electricity. Annual irradiation: 1’331 kWh/m2. Annual yield (Europe): 975 kWh/kWp, including degradation (linear, 0.7%/a). Service life: 30 years (Panel), 15 years (inverter).
Impacts of 2018 systems equal 100%; 2018 module efficiency in brackets.
values >100 % indicate an increase in environmental impact relative to 2020; see slide 12 for discussion of reasons for these changes

## Slide 9
Greenhouse Gas Emissions 1 kWh PV-System 3kWp (2021 update)
20.0%
18.0%
17.0%
18.2%
module efficiency
1 kWh AC electricity. Annual irradiation: 1’331 kWh/m2. Annual yield (Europe): 975 kWh/kWp, including degradation (linear, 0.7%/a). To adjust results for a degradation rate of 0.5 %/year multiply results by 0.968; while for a degradation rate of 0.9 %/year, multiply results by a factor of 1.053. Service life: 30 years (Panel), 15 years (inverter)

## Slide 10
Supply Chain Contributions to Greenhouse gas emissions (2021 update)
20.0%
18.0%
module efficiency
1 kWh AC electricity. Annual irradiation: 1’331 kWh/m2. Annual yield (Europe): 975 kWh/kWp, including degradation (linear, 0.7%/a). To adjust results for a degradation rate of 0.5 %/year multiply results by 0.968; while for a degradation rate of 0.9 %/year, multiply results by a factor of 1.053. Service life: 30 years (Panel), 15 years (inverter)

## Slide 11
Time series greenhouse gas emissions
Residential, rooftop mounted, scale mono-Si crystalline silicon photovoltaic system Installed in Switzerland
 | unit | 1996 | 2003 | 2007 | 2014 | 2016 | 2020 | 2021
Greenhouse gas emissions | g CO2 eq/kWh | 121 | 72 | 76 | 80 | 107(1) | 43 | 43
module efficiency | % | 13.6 | 14.8 | 14.0 | 14.0 | 15.1 | 19.5 | 20.0
yield | kWh/a | 862 | 882 | 922 | 922 | 882 | 976 | 976
Service life: 30 years (Panel), 15 years (inverter)
Background data:
1996: Ökoinventare von Energiesystemen
2003: ecoinvent v1.01
2007: ecoinvent v2.0
2014: ecoinvent v2.2
2016: KBOB LCA data DQRv2:2016
2020: UVEK LCA data DQRv2:2020
2021: UVEK LCA data DQRv2:2022
References
1996: Ciseri L., Doka G., Vollmer M. (996) Photovoltaik, in Frischknecht et al. (1996) Ökoinventare von Energiesystemen, Bern
2003/2007: Jungbluth N. (2003) Photovoltaik. In: Sachbilanzen von Energiesystemen: Grundlagen für den ökologischen Vergleich von Energiesystemen und den Einbezug von Energiesystemen in Ökobilanzen für die Schweiz (Ed. Dones R.). Paul Scherrer Institut Villigen, Swiss Centre for Life Cycle Inventories, Dübendorf, CH
2014: Jungbluth N., Stucki M., Flury K., Frischknecht R. and Buesser S. (2012) Life Cycle Inventories of Photovoltaics. ESU-services Ltd., Uster, CH
2016: R. Frischknecht, R. Itten, P. Sinha, M. de Wild-Scholten, J. Zhang, V. Fthenakis, H. C. Kim, M. Raugei, M. Stucki, 2015, Life Cycle Inventories and Life Cycle Assessment of Photovoltaic Systems, International Energy Agency (IEA) PVPS Task 12, Report T12-04:2015
2020: IEA-PVPS Report T12-19:2020
(1) The increase in 2016 is due to the geographical relocation of the supply chains

## Slide 12
Main reasons for changes compared to 2018 PV systems
crystalline silicon PV panels
  increased panel efficiency (leading to a decrease in life cycle environmental impacts)
  higher thermal energy demand in polysilicon production (increase in impacts)
  increased share of Chinese and Asian production of cells and wafers (increase in impacts)
CIS PV panels
  increased panel efficiency (decrease in impacts)
CdTe
  increased panel efficiency (decrease in impacts)
  increased manufacturing efficiency (material and energy) (decrease in impacts)

## Slide 13
Non Renewable Energy Payback Time (2021 update)
NREPBT Non renewable energy payback time is defined as the period required for a renewable energy system to generate the same amount of energy (in terms of non renewable primary energy equivalent) that was used to produce the system itself.
 | unit | Mono-Si | Multi-Si | CIS | CdTe
NREPBT | year | 1.2 | 1.2 | 1.2 | 0.8
module efficiency | % | 20.0 | 18.0 | 17.0 | 18.2
1 kWh AC electricity. Annual irradiation: 1’331 kWh/m2. Annual yield (Europe): 975 kWh/kWp, including degradation (linear, 0.7%/a). Service life: 30 years (Panel), 15 years (inverter).
Reference electricity mix: mix of power plants using non renewable energy sources (coal, oil, natural gas, uranium) in Europe.

## Slide 14
Bill of Materials
IEA PVPS Report T12-19:2020

## Slide 15
Market Situation Crystalline Silicon 2020 in MW PV Power Capacity
based on IHS Markit 2020
conversion from tons of Polysilicon to MW power with 3260 kg per MW PV power capacity

## Slide 16
Methodology and Database
Methodology protocol IEA PVPS Task 12 Methodology guidelines, 4th edition (IEA PVPS Report T12-18:2020)
System model Attributional LCI
Allocation
  Multifunctional processes: economic relationships
  Recycling: recycled content approach
Background data UVEK LCI data DQRv2:2022
LCA software SimaPro v9.3

## Slide 17
Environmental Footprint PV: Environmental Indicators
Selection of indicators from Life Cycle Impact Assessment Method “Environmental Footprint v3”:
Climate change: Greenhouse gas emissions, kg CO2-eq; IPCC (2013)
Resource use, minerals and metals: Abiotic depletion potential (ADP, ultimate reserves), kg Sb-eq; CML 2002 (Guinée et al. 2001) and (van Oers et al. 2002)
Resource use, fossils: Abiotic resource depletion – fossil fuels (ADP-fossil), MJ, CML 2002; (Guinée et al. 2001) and (van Oers et al. 2002)
Acidification: Accumulated Exceedance (AE), mol H+-eq; (Posch et al. 2008; Seppälä et al. 2006)
Particulate matter: Impact on human health, disease incidence; (Fantke et al. 2016)
Water use: User deprivation potential (deprivation-weighted water consumption); m3 water-eq; Boulay et al. (2017)

## Slide 18
Main References
Fraunhofer ISE, Photovoltaics Report (16 September 2020), Freiburg, Germany, 2020
Fraunhofer ISE, Photovoltaics Report (27 July 2021), Freiburg, Germany, 2021
Frischknecht R., Stolz P., Krebs L., de Wild-Scholten M., Sinha P. and Raugei M. (2020) Life Cycle Inventories and Life Cycle Assessments of Photovoltaic Systems, Report T12-19:2020. International Energy Agency, IEA, Paris.
Frischknecht R., Stolz P., Heath G., Raugei M., Sinha P. and de Wild-Scholten M. (2020) Methodology Guidelines on Life Cycle Assessment of Photovoltaic Electricity, 4th edition, IEA-PVPS T12-18:2020. International Energy Agency, IEA, Paris.
IEA-PVPS, Trends in Photovoltaic Applications 2019, IEA PVPS Task 1, Report T1-36:2019, 2019
IEA-PVPS, Trends in Photovoltaic Applications 2019, IEA PVPS Task 1, Report T1-41:2021, 2021
IHS Markit, market report 2020
Jordan D. C., Kurtz S. R., VanSant K., and Newmiller J. (2016) Compendium of photovoltaic degradation rates, Prog. Photov., Vol. 24(7), pp. 978-989.
VDMA, International Technology Roadmap for Photovoltaic (ITRPV) - 2019 Results, Vol. Eleventh Edition, VDMA Photovoltaic equipment, 2020
Woodhouse M., Smith B., Ramdas A., and Margolis R., Crystalline Silicon Photovoltaic Module Manufacturing Costs and Sustainable Pricing: 1H 2018 Benchmark and Cost Reduction Road Map, NREL, Golden, CO, USA, 2019
Smith B. L., Woodhouse M., Horowitz K. A. W., Silverman T. J., Zuboy J. and Margolis R. M., Photovoltaic (PV) Module Technologies: 2020 Benchmark Costs and Technology Evolution Framework Results. National Renewable Energy Laboratory, NREL, Golden, CO, USA, 2021
P. Sinha, First Solar Series 6 Photovoltaic Module Environmental Product Declaration, NEPD-2993-1671-EN, 2021. https://www.epd-norge.no/solcellepaneler-og-komponenter/series-6-photovoltaic-module-article3438-552.html

## Slide 19
What is PVPS Task 12 – PV Sustainability
The goal of Task 12 is to foster international collaboration and knowledge creation in PV environmental sustainability and safety, as crucial elements for the sustainable growth of PV as a major contributor to global energy supply and emission reductions of the member countries and the world. In doing so, Task 12 aims to facilitate a common understanding of PV Sustainability, with a focus on Environment Health and Safety (EH&S), among the various country-members and disseminate the Task’s outcomes and knowledge to stakeholders, energy and environmental policy decision makers, and the general public.
Task 12 is operated jointly by the National Renewable Energy Laboratory (NREL) and University of New South Wales (UNSW). Support from the United States’ Department of Energy (DOE) and the Australian University of New South Wales (UNSW) are gratefully acknowledged.
Task 12 Subtasks
  End of Life of PV systems
  Environmental Life Cycle Assessment (LCA)
  Other PV sustainability topics
Task 12 Operating agents
  Garvin Heath, NREL, USA
  Jose Bilbao, UNSW, Australia

## Slide 20
PVPS Task 12 Reports
T12-22:2022: Frischknecht R., Krebs L. (2022) Resource Use Footprints of Residential PV Systems, IEA-PVPS Task 12, Report T12-22:2022. International Energy Agency, IEA, Paris.
T12-20:2021: M. Raugei, Frischknecht R., Olson C., Sinha P., Heath G. (2021) Methodological guidelines on Net Energy Analysis of Photovoltaic Electricity, 2nd Edition, IEA-PVPS Task 12, Report T12-20:2021,
T12-19:2020: Frischknecht R., Stolz P., Krebs L., de Wild-Scholten M., Sinha P. and Raugei M. (2020) Life Cycle Inventories and Life Cycle Assessments of Photovoltaic Systems, IEA-PVPS Task 12, Report T12-19:2020. International Energy Agency, IEA, Paris.
T12-18:2020: Frischknecht R., Stolz P., Heath G., Raugei M., Sinha P. and de Wild-Scholten M. (2020) Methodology Guidelines on Life Cycle Assessment of Photovoltaic Electricity, 4th edition, IEA-PVPS Task 12, Report IEA-PVPS T12-18:2020. International Energy Agency, IEA, Paris.
T12-17:2020: Krebs L., Frischknecht R., Stolz P., Heath G., Komoto K., Sinha P. and Wade A. (2020) Environmental Life Cycle Assessment of residential PV and battery storage system. IEA-PVPS Task 12, Report IEA-PVPS T12-17:2020, International Energy Agency, IEA, Paris.
T12-16:2020: Sinha P., Heath G., Wade A., Komoto K. (2020) Human Health Risk Assessment, Part 3: Module Disposal Risks, PVPS Task 12, Report T12-16:2020, International Energy Agency, IEA, Paris.
T12-15:2019: Sinha P., Heath G., Wade A., Komoto K. (2019) Human Health Risk Assessment, Part 2: Breakage Risks, PVPS Task 12, Report T12-15:2019, International Energy Agency, IEA, Paris.
T12-14:2018: Sinha P., Heath G., Wade A., Komoto K. (2018) Human Health Risk Assessment, Part 1: Fire Risks, PVPS Task 12, Report T12-14:2018, International Energy Agency, IEA, Paris.
T12-05:2015: R. Frischknecht, R. Itten, F. Wyss, I. Blanc, G. Heath, M. Raugei, P. Sinha, A. Wade, 2014, Life cycle assessment of future photovoltaic electricity production from residential-scale systems operated in Europe, IEA-PVPS Task 12, Report IEA-PVPS T12-05:2015, International Energy Agency, IEA, Paris.
see https://iea-pvps.org/research-tasks/pv-sustainability/ for further publications of IEA PVPS Task 12

## Slide 21
Imprint
Copyright All content provided in this report is copyrighted by IEA-PVPS Task 12.
Liability Statement Information contained herein have been compiled or arrived from sources believed to be reliable. Nevertheless, the authors or their organizations do not accept liability for any loss or damage arising from the use thereof. Using the given information is strictly your own responsibility.
Size of document This set of slides has 22 pages
Version 1.3, 1.11.2022

## Slide 22
R. Frischknecht, treeze Ltd. (ed.)
info@treeze.ch